## Site Locations
2012 Site Name | 2013 Site Name | Latitude | Longitude
ELLS RIFF 4 | EL1 | 57.2446 | -111.7047
ELLS RIFF 2 | EL2 | 57.2807 | -111.7366
ELLS RIFF 5 | EL3 | 57.2277 | -111.9591
ELLS RIFF 9 | EL4 | 57.1513 | -112.1735
STB RIFF 1 | ST1 | 57.0232 | -111.4757
STB WSC | ST2 | 56.9995 | -111.4066
STB RIFF 7 | ST3B | 56.9795 | -111.2986
STB RIFF 10 | ST4 | 56.8688 | -111.1425

## 25-26June2013
DIGESTION DATE: | 2013-06-25
DIGESTION DATA
Digestion Vial | bottle id | Site | Sample Date | Empty Vial | Tissue | Full Vial | Full Vial | Amount of | Analysis Date |  | Peak Area |  | Total | Total | [6 empty] | Digestion Reagent
Number |  |  |  | Weight | Weight | Weight w/ acid | Weight post Digestion | Sample Added |  | Peak | Corrected For |  | ng MeHg in | ng MeHg blank | MeHg | Spike recovery | Water Corrected | Average | Certified Value |  | Type | Quantity (mL) | Brooks Rand MeHgCl conc. (mg/L) | Brooks Rand MeHgOH conc. (mg/L) | Average spike Recovery (%)
|  |  |  | (g) | (g) | (g) | (g) |  |  | Height | Digestion Volume | ng MeHg | digestion | corrected | ng/g | % | SRMs | SRM | SRM |  | 30% Nitric acid | 5 | 1.03 | 1.11 | 1.0588
1 | acid blank |  |  | 16.0829 | n/a | 21.9452 | 21.9453 | 0.15 | 2013-06-26 | 64 | 63.9987 | 0.00019919 | 0.0066398
2 | acid blank |  |  | 15.9947 | n/a | 21.8495 | 21.8496 | 0.15 | 2013-06-26 | 44 | 43.9991 | 0.00013695 | 0.0045649
3 | acid blank with spike |  |  | 16.1035 | n/a | 22.0031 | 22.0031 | 0.15 | 2013-06-26 | 20304 | 20304 | 0.063195 | 2.1065 | 2.1009 |  | 105.0456 |  |  |  |  | ANALYSIS DATE: |  | 2013-06-26
4 | acid blank with spike |  |  | 16.0513 | n/a | 21.962 | 21.9623 | 0.15 | 2013-06-26 | 20075 | 20073.7956 | 0.062479 | 2.0826 | 2.077 |  | 103.8514
5 | acid blank with spike |  |  | 16.0283 | n/a | 21.9342 | 21.9343 | 0.15 | 2013-06-26 | 20663 | 20662.5867 | 0.064312 | 2.1437 | 2.1381 |  | 106.9057 |  |  |  |  | Standard | Curve 1 | Curve 2 | Curve 1 Brooks Rand 12March2009 |  | Time of Day | pg | Initial calibration verification | Continuing calibration verification
6 | TORT-2 |  |  | 15.9961 | 0.0264 | 21.8878 | 21.8867 | 0.15 | 2013-06-26 | 33672 | 33679.4095 | 0.10483 | 3.4942 | 3.4886 | 132.1437 |  | 140.4687 | 140.877 | 152 +/-13 | TORT-2 |  | MeHgCl | MeHgCl |  |  |  |  | MeHgCl | MeHgOH
7 | TORT-2 |  |  | 16.0835 | 0.026 | 21.9968 | 21.9956 | 0.15 | 2013-06-26 | 33506 | 33514.0434 | 0.10431 | 3.477 | 3.4714 | 133.5168 |  | 141.9283 |  |  |  | CalBlank | 50 | 43 | 47 |  | AM | 5 | 1723
8 | TORT-2 |  |  | 15.9936 | 0.025 | 21.9023 | 21.9023 | 0.15 | 2013-06-26 | 31843 | 31843 | 0.09911 | 3.3037 | 3.2981 | 131.9227 |  | 140.2338 |  |  |  | CalBlank | 50 | 43 | 47 |  | AM | 5 | 1675
9 | 1 Odonates Rep. 1 | STB Riff 10 | 2012-08-29 | 16.2155 | 0.0307 | 22.1284 | 22.127 | 0.15 | 2013-06-26 | 10458 | 10460.9291 | 0.032559 | 1.0853 | 1.0797 | 35.1696 | [5 empty] | 0 | 50 | 43 | 47 |  | AM | 5 | 1677
10 | 1 Odonates Rep. 1 | STB Riff 10 | 2012-08-29 | 15.983 | 0.0146 | 21.8787 | 21.8771 | 0.15 | 2013-06-26 | 5392 | 5393.726 | 0.016788 | 0.55959 | 0.55399 | 37.9445 | [5 empty] | 0.5 | 178 | 178 | 187 |  | AM | 5 | 1734 | 1881
11 | 2 Odonates Rep. 2 | STB Riff 10 | 2012-08-29 | 16.0508 | 0.0299 | 21.9611 | 21.9591 | 0.15 | 2013-06-26 | 9680 | 9683.8735 | 0.030141 | 1.0047 | 0.99909 | 33.4143 | [5 empty] | 1 | 332 | 335 | 349 |  | AM | 5 | 1656 | 1817
12 | 52 Odonates Rep. 1 | STB Riff 1 | 2012-08-29 | 16.0557 | 0.03 | 21.9786 | 21.9775 | 0.15 | 2013-06-26 | 11783 | 11785.5928 | 0.036682 | 1.2227 | 1.2171 | 40.5713 | [5 empty] | 2 | 674 | 693 | 679 |  | AM | 5 | 1768 | 1802
13 | 53 Odonates Rep. 1 | Ells Riff 2 | 2012-10-23 | 16.0019 | 0.0299 | 21.9255 | 21.925 | 0.15 | 2013-06-26 | 21077 | 21079.1079 | 0.065608 | 2.1869 | 2.1813 | 72.9541 | [5 empty] | 5 | 1721 | 1565 | 3073 |  | PM | 50 | 14937
14 | 16 Odonates Rep. 1 | STBWSC | 2012-08-29 | 15.9396 | 0.0305 | 21.8651 | 21.8639 | 0.15 | 2013-06-26 | 18754 | 18758.502 | 0.058385 | 1.9462 | 1.9406 | 63.6252 | [5 empty] | 10 | 3297 | 3317 |  |  | PM | 50 | 15232
15 | 17 Odonates Rep. 2 | STBWSC | 2012-08-29 | 15.9475 | 0.0304 | 21.869 | 21.869 | 0.15 | 2013-06-26 | 11328 | 11328 | 0.035258 | 1.1753 | 1.1697 | 38.4758 | [5 empty] | 50 | 16572 | 16450 | 15008 |  | PM | 50 | 17438
16 | 18 Odonates Rep. 3 | STBWSC | 2012-08-29 | 15.9875 | 0.0307 | 21.9013 | 21.8997 | 0.15 | 2013-06-26 | 15256 | 15260.8835 | 0.047499 | 1.5833 | 1.5777 | 51.3907 | [5 empty] | 200 |  |  | 77803 |  | PM | 50 | 14735
17 | 61 Odonates Rep. 1 | Ells Riff 2 | 2012-08-29 | 16.1 | 0.0297 | 22.0137 | 22.013 | 0.15 | 2013-06-26 | 15688 | 15690.1966 | 0.048835 | 1.6278 | 1.6222 | 54.6207 | [5 empty] | 500 |  |  | 312462 |  | PM | 50 | 16572
18 | 62 Odonates Rep. 2 | Ells Riff 2 | 2012-08-29 | 15.9517 | 0.0302 | 21.8704 | 21.8697 | 0.15 | 2013-06-26 | 19734 | 19736.7631 | 0.06143 | 2.0477 | 2.0421 | 67.6179 | [10 empty] | PM | 50 | 16617
19 | 63 Odonates Rep. 3 | Ells Riff 2 | 2012-08-29 | 16.031 | 0.0303 | 21.9442 | 21.943 | 0.15 | 2013-06-26 | 14702 | 14705.5293 | 0.04577 | 1.5257 | 1.5201 | 50.1676 | [5 empty] | 0-500 pg
20 | 57 Plecoptera Rep. 1 | Ells Riff 4 | 2012-06-20 | 16.0305 | 0.0299 | 21.9402 | 21.9385 | 0.15 | 2013-06-26 | 3028 | 3029.0299 | 0.0094277 | 0.31426 | 0.30866 | 10.3229 | [5 empty] | slope | 2042.6071 | 2026.0357 | 26536.6964 |  | Note:
21 | 73 Plecoptera Rep. 1 | Ells Riff 5 | 2012-07-24 | 16.0734 | 0.0306 | 21.9954 | 21.9944 | 0.15 | 2013-06-26 | 13833 | 13835.7672 | 0.043063 | 1.4354 | 1.4298 | 46.7268 | [5 empty] | Calblank 0.5% | 50 | 43 | 47 |  | removed value "71306" at 200 pg MeHg
22 | 64 Odonates Rep. 1 | STB Riff 10 | 2012-06-20 | 16.0619 | 0.0305 | 21.9631 | 21.9619 | 0.15 | 2013-06-26 | 8714 | 8716.0919 | 0.027128 | 0.90428 | 0.89868 | 29.465 | [5 empty] | y-int | -4909.8571 | -4878.2857 | -78165.3949 |  | of curve as an outlier
23 | 64 Odonates Rep. 1 | STB Riff 10 | 2012-06-20 | 16.0623 | 0.0301 | 21.9766 | 21.9757 | 0.15 | 2013-06-26 | 8668 | 8669.5605 | 0.026984 | 0.89946 | 0.89385 | 29.6961
24 | 65 Odonates Rep. 2 | STB Riff 10 | 2012-06-20 | 16.0447 | 0.0309 | 21.9629 | 21.9608 | 0.15 | 2013-06-26 | 11487 | 11491.8266 | 0.035768 | 1.1923 | 1.1867 | 38.4032 | [10 empty] | Note:
25 | 40 Odonates Rep. 1 | Ells Riff 4 | 2012-10-23 | 15.9762 | 0.0296 | 21.8819 | 21.8799 | 0.15 | 2013-06-26 | 13973 | 13978.5914 | 0.043508 | 1.4503 | 1.4447 | 48.806 | [5 empty] | 0-20 pg |  |  |  |  | replaced value "17039" at 50 pg MeHg
26 | 41 Odonates Rep. 2 | Ells Riff 4 | 2012-10-23 | 15.9561 | 0.0311 | 21.8588 | 21.8582 | 0.15 | 2013-06-26 | 15055 | 15056.8068 | 0.046864 | 1.5621 | 1.5565 | 50.0489 | [5 empty] | slope | 605.8857 | 596.8286 | 654.4 |  | of curve with 50 pg MeHg value "16572"
27 | 42 Odonates Rep. 3 | Ells Riff 4 | 2012-10-23 | 15.9846 | 0.03 | 21.9001 | 21.9002 | 0.15 | 2013-06-26 | 14017 | 14016.7197 | 0.043626 | 1.4542 | 1.4486 | 48.2871 | [5 empty] | Calblank 0.5% | 50 | 43 | 47 |  | from calibration verification
28 | 11CARAPL11 |  |  | 15.8955 | 0.0308 | 21.8121 | 21.8121 | 0.15 | 2013-06-26 | 1641 | 1641 | 0.0051075 | 0.17025 | 0.16465 | 5.3458 |  | 5.6825 | 5.6683 | 6.41 | Last year's samples | y-int | -1078.6 | -1067.0667 | -1096.2
29 | 11CARAPL11 |  |  | 16.031 | 0.0339 | 21.9544 | 21.9544 | 0.15 | 2013-06-26 | 1792 | 1792 | 0.0055775 | 0.18592 | 0.18032 | 5.319 |  | 5.6541
30 | 11CARAPL05 |  |  | 15.9498 | 0.0314 | 21.8586 | 21.8587 | 0.15 | 2013-06-26 | 27926 | 27925.4415 | 0.086917 | 2.8972 | 2.8916 | 92.09 |  | 97.8917 | 99.9364 | 101.69
31 | 11CARAPL05 |  |  | 15.9557 | 0.0302 | 21.8556 | 21.8554 | 0.15 | 2013-06-26 | 27979 | 27980.1192 | 0.087087 | 2.9029 | 2.8973 | 95.9371 |  | 101.9811
32 | 11CARAPL11+spike |  |  | 16.0567 | 0.0315 | 21.9807 | 21.9806 | 0.15 | 2013-06-26 | 21865 | 21865.4373 | 0.068055 | 2.2685 | 2.2629 | 71.8384 | 104.5213
33 | 11CARAPL11+spike |  |  | 16.0002 | 0.0306 | 21.933 | 21.933 | 0.15 | 2013-06-26 | 21778 | 21778 | 0.067783 | 2.2594 | 2.2538 | 73.6548 | 104.0677
34 | 11CARAPL05+spike |  |  | 16.0343 | 0.0319 | 21.9685 | 21.9684 | 0.15 | 2013-06-26 | 48882 | 48882.9777 | 0.15215 | 5.0715 | 5.0659 | 158.807 | 108.5741
35 | 11CARAPL05+spike |  |  | 15.9958 | 0.033 | 21.9374 | 21.9366 | 0.15 | 2013-06-26 | 50202 | 50210.0336 | 0.15628 | 5.2092 | 5.2036 | 157.6856 | 115.4581
36 | Mussel |  |  | 16.0236 | 0.0262 | 21.9212 | 21.9202 | 0.15 | 2013-06-26 | 5743 | 5744.1488 | 0.017878 | 0.59595 | 0.59035 | 22.5323 |  | 23.6814 | 23.4967 | 28.09+/-0.31 | Mussel
37 | Mussel |  |  | 16.0119 | 0.0286 | 21.921 | 21.9206 | 0.15 | 2013-06-26 | 6168 | 6168.4935 | 0.019199 | 0.63997 | 0.63437 | 22.1808 |  | 23.312
38 | Mussel+spike |  |  | 15.9402 | 0.0262 | 21.8599 | 21.8587 | 0.15 | 2013-06-26 | 25782 | 25788.1892 | 0.080265 | 2.6755 | 2.6699 | 101.9042 | 102.8765
39 | Mussel+spike |  |  | 15.9758 | 0.0249 | 21.9134 | 21.9113 | 0.15 | 2013-06-27 | 25537 | 25547.73 | 0.079516 | 2.6505 | 2.6449 | 106.2226 | 101.6292

## 9-10July2013
DIGESTION DATE: | 2013-07-09
DIGESTION DATA
Digestion Vial | bottle id | Site | Sample Date | Empty Vial | Tissue | Full Vial | Full Vial | Amount of | Analysis Date |  | Peak Area |  | Total | Total
Number |  |  |  | Weight | Weight | Weight w/ acid | Weight post Digestion | Sample Added |  | Peak | Corrected For |  | ng MeHg in | ng MeHg blank | MeHg | Spike recovery | Water Corrected | Average | Certified Value
|  |  |  | (g) | (g) | (g) | (g) |  |  | Height | Digestion Volume | ng MeHg | digestion | corrected | ng/g | % | SRMs | SRM | SRM
1 | acid blank |  |  | 16.0119 | n/a | 21.8744 | 21.8744 | 0.15 | 2013-07-10 | 71 | 71 | 0.00023588 | 0.0078625
2 | acid blank |  |  | 16.0261 | n/a | 21.8776 | 21.8778 | 0.15 | 2013-07-10 | 50 | 49.998 | 0.0001661 | 0.0055368
3 | acid blank with spike |  |  | 16.0265 | n/a | 21.893 | 21.8928 | 0.15 | 2013-07-10 | 19857 | 19857.7943 | 0.065972 | 2.1991 | 2.1924 |  | 109.6178
4 | acid blank with spike |  |  | 16.1707 | n/a | 22.0274 | 22.0274 | 0.15 | 2013-07-10 | 20458 | 20458 | 0.067966 | 2.2655 | 2.2588 |  | 112.9411 |  |  |  |  | Digestion Reagent
5 | TORT-2 |  |  | 16.0527 | 0.0253 | 21.9386 | 21.9368 | 0.15 | 2013-07-10 | 31024 | 31035.1727 | 0.10311 | 3.4368 | 3.4301 | 135.5786 |  | 144.1201 | 144.5396 | 152 +/-13 | TORT-2 | Type | Quantity (mL) | Brooks Rand MeHgCl conc. (mg/L) | Brooks Rand MeHgOH conc. (mg/L) | Average spike Recovery (%)
6 | TORT-2 |  |  | 16.0234 | 0.025 | 21.9096 | 21.9091 | 0.15 | 2013-07-10 | 30843 | 30846.0846 | 0.10248 | 3.4159 | 3.4092 | 136.368 |  | 144.9592 |  |  |  | 30% Nitric acid | 5 | 1.03 | 1.11 | 1.0837
7 | 36 Plecoptera Rep. 1 | Ells Riff 2 | 2012-06-20 | 16.0191 | 0.0299 | 21.904 | 21.9035 | 0.15 | 2013-07-10 | 1273 | 1273.1273 | 0.0042296 | 0.14099 | 0.13429 | 4.4912 |  |  |  | duplicate | 2% difference
8 | 36 Plecoptera Rep. 1 | Ells Riff 2 | 2012-06-20 | 15.964 | 0.031 | 21.8498 | 21.8488 | 0.15 | 2013-07-10 | 1359 | 1359.2719 | 0.0045158 | 0.15053 | 0.14383 | 4.6396 |  |  |  | duplicate
9 | 37 Plecoptera Rep. 2 | Ells Riff 2 | 2012-06-20 | 16.0298 | 0.0312 | 21.9139 | 21.9129 | 0.15 | 2013-07-10 | 2094 | 2094.4189 | 0.0069581 | 0.23194 | 0.22524 | 7.2191 | [5 empty] | ANALYSIS DATE: |  | 2013-07-10
10 | 38 Plecoptera Rep. 3 | Ells Riff 2 | 2012-06-20 | 16.095 | 0.0307 | 21.9749 | 21.9726 | 0.15 | 2013-07-10 | 1707 | 1707.7856 | 0.0056736 | 0.18912 | 0.18242 | 5.942
11 | 21 Odonates Rep. 1 | STB Riff 7 | 2012-08-29 | 15.9314 | 0.0309 | 21.8125 | 21.8112 | 0.15 | 2013-07-10 | 10782 | 10784.804 | 0.035829 | 1.1943 | 1.1876 | 38.434 | [5 empty] | Standard | Curve 1 | Curve 2 | Curve 1 Brooks Rand 12March2009 |  | Time of Day | pg | Initial calibration verification | Continuing calibration verification
12 | 22 Odonates Rep. 2 | STB Riff 7 | 2012-08-29 | 15.9902 | 0.0304 | 21.8786 | 21.8784 | 0.15 | 2013-07-10 | 9452 | 9452.3781 | 0.031403 | 1.0468 | 1.0401 | 34.2124 | [6 empty] | MeHgCl | MeHgCl |  |  |  |  | MeHgCl | MeHgOH
13 | 23 Odonates Rep. 3 | STB Riff 7 | 2012-08-29 | 15.9653 | 0.0298 | 21.8486 | 21.848 | 0.15 | 2013-07-10 | 2836 | 2836.3404 | 0.0094229 | 0.3141 | 0.3074 | 10.3153 | [5 empty] | CalBlank | 42 | 43 | 47 |  | AM | 5 | 1496
14 | 25 Odonates Rep. 1 | STB Riff 10 | 2012-07-26 | 16.0329 | 0.0304 | 21.917 | 21.9159 | 0.15 | 2013-07-10 | 9635 | 9637.1202 | 0.032016 | 1.0672 | 1.0605 | 34.8854 | [5 empty] | CalBlank | 42 | 43 | 47 |  | AM | 5 | 1585
15 | 26 Odonates Rep. 2 | STB Riff 10 | 2012-07-26 | 16.0953 | 0.03 | 21.9748 | 21.9735 | 0.15 | 2013-07-10 | 9084 | 9086.3625 | 0.030187 | 1.0062 | 0.99953 | 33.3175 | [5 empty] | 0 | 42 | 43 | 47 |  | AM | 5 | 1569
16 | 27 Odonates Rep. 3 | STB Riff 10 | 2012-07-26 | 16.0467 | 0.0305 | 21.9338 | 21.9331 | 0.15 | 2013-07-10 | 11541 | 11542.616 | 0.038347 | 1.2782 | 1.2715 | 41.6895 | [5 empty] | 0.5 | 169 | 178 | 187 |  | AM | 5 | 1641 | 1579
17 | 28 Plecoptera Rep. 1 | STB Riff 10 | 2012-07-26 | 16.0736 | 0.032 | 21.9596 | 21.9599 | 0.15 | 2013-07-10 | 1465 | 1464.9121 | 0.0048667 | 0.16222 | 0.15552 | 4.8602 |  |  |  | duplicate | 5% difference | 1 | 296 | 335 | 349 |  | AM | 5 | 1607 | 1587
18 | 28 Plecoptera Rep. 1 | STB Riff 10 | 2012-07-26 | 15.9372 | 0.0313 | 21.8327 | 21.8321 | 0.15 | 2013-07-10 | 1295 | 1295.1554 | 0.0043028 | 0.14343 | 0.13673 | 4.3682 |  |  |  | duplicate |  | 2 | 625 | 693 | 679 |  | AM | 5 | 1590 | 1561
19 | 97 Plecoptera Rep. 1 | Ells Riff 5 | 2012-08-28 | 16.0229 | 0.0314 | 21.9135 | 21.9128 | 0.15 | 2013-07-10 | 4593 | 4593.6431 | 0.015261 | 0.5087 | 0.502 | 15.9873 | [5 empty] | 5 | 1542 | 1565 | 3073 |  | PM | 50 | 15647
20 | 98 Plecoptera Rep. 2 | Ells Riff 5 | 2012-08-28 | 16.0262 | 0.0301 | 21.9074 | 21.9069 | 0.15 | 2013-07-10 | 3796 | 3796.3796 | 0.012612 | 0.42041 | 0.41371 | 13.7446 | [5 empty] | 10 | 3123 | 3317 |  |  | PM | 50 | 16135
21 | 99 Plecoptera Rep. 3 | Ells Riff 5 | 2012-08-28 | 16.024 | 0.0317 | 21.9053 | 21.9044 | 0.15 | 2013-07-10 | 3597 | 3597.6476 | 0.011952 | 0.3984 | 0.3917 | 12.3566 | [5 empty] | 50 | 15512 | 16450 | 15008 |  | PM | 50 | 13610
22 | 84 Plecoptera Rep. 1 | Ells Riff 5 | 2012-06-21 | 16.0317 | 0.0311 | 21.9144 | 21.9146 | 0.15 | 2013-07-10 | 10204 | 10203.5919 | 0.033898 | 1.1299 | 1.1232 | 36.1173 | [5 empty] | 200 |  |  | 77803 |  | PM | 50 | 14234
23 | 85 Plecoptera Rep. 2 | Ells Riff 5 | 2012-06-21 | 16.049 | 0.031 | 21.9321 | 21.93 | 0.15 | 2013-07-10 | 2899 | 2900.2181 | 0.0096351 | 0.32117 | 0.31447 | 10.1442 | [5 empty] | 500 |  |  | 312462 |  | PM | 1 | 381
24 | 86 Plecoptera Rep. 3 | Ells Riff 5 | 2012-06-21 | 16.075 | 0.0309 | 21.9537 | 21.953 | 0.15 | 2013-07-10 | 3895 | 3895.5454 | 0.012942 | 0.43139 | 0.42469 | 13.7441 | [10 empty] | PM | 50 | 13937
25 | 49 Odonates Rep. 1 | Ells Riff 4 | 2012-07-26 | 16.0304 | 0.0307 | 21.9075 | 21.9062 | 0.15 | 2013-07-10 | 14128 | 14131.6742 | 0.046948 | 1.5649 | 1.5582 | 50.7571 | [5 empty] | 0-500 pg
26 | 50 Odonates Rep. 2 | Ells Riff 4 | 2012-07-26 | 16.0066 | 0.0316 | 21.8834 | 21.8828 | 0.15 | 2013-07-10 | 15907 | 15908.9091 | 0.052853 | 1.7618 | 1.7551 | 55.5397 | [5 empty] | slope | 310.0351 | 328.7537 | 606.1384 |  | Note:
27 | 51 Odonates Rep. 3 | Ells Riff 4 | 2012-07-26 | 15.9695 | 0.0313 | 21.8499 | 21.8489 | 0.15 | 2013-07-10 | 19869 | 19872.9746 | 0.066022 | 2.2007 | 2.194 | 70.097 | [5 empty] | Calblank 0.5% | 42 | 43 | 47 |  | removed value "64588" at 200 pg MeHg
28 | 54 Odonates Rep. 1 | Ells Riff 4 | 2012-06-20 | 15.9973 | 0.0319 | 21.8792 | 21.8797 | 0.15 | 2013-07-10 | 10515 | 10513.9486 | 0.034929 | 1.1643 | 1.1576 | 36.2889 | [5 empty] | y-int | 10.2276 | 8.7673 | -6268.4983 |  | of curve as an outlier
29 | 55 Odonates Rep. 2 | Ells Riff 4 | 2012-06-20 | 15.974 | 0.0313 | 21.855 | 21.8545 | 0.15 | 2013-07-10 | 10851 | 10852.0852 | 0.036053 | 1.2018 | 1.1951 | 38.1809
30 | 56 Odonates Rep. 3 | Ells Riff 4 | 2012-06-20 | 15.9863 | 0.0315 | 21.858 | 21.8549 | 0.15 | 2013-07-10 | 11486 | 11493.1257 | 0.038183 | 1.2728 | 1.2661 | 40.1921
31 | 11CARAPL12 |  |  | 15.9155 | 0.0313 | 21.7971 | 21.7955 | 0.15 | 2013-07-10 | 2222 | 2222.7113 | 0.0073843 | 0.24614 | 0.23944 | 7.65 |  | 8.1319 | 8.1576 | 7.64 | Last year's samples | 0-20 pg
32 | 11CARAPL12 |  |  | 16.0129 | 0.0305 | 21.8839 | 21.8822 | 0.15 | 2013-07-10 | 2180 | 2180.7415 | 0.0072449 | 0.2415 | 0.2348 | 7.6982 |  | 8.1832 |  |  |  | slope | 310.025 | 326.4804 | 620
33 | 11CARAPL12+spike |  |  | 15.9585 | 0.0312 | 21.8378 | 21.837 | 0.15 | 2013-07-10 | 23320 | 23323.7318 | 0.077486 | 2.5829 | 2.5762 | 82.5697 | 116.9527 |  |  |  |  | Calblank 0.5% | 42 | 43 | 47
34 | 11CARAPL12+spike |  |  | 16.0152 | 0.0346 | 21.9082 | 21.908 | 0.15 | 2013-07-10 | 21738 | 21738.8696 | 0.072221 | 2.4074 | 2.4007 | 69.3834 | 108.1773 |  |  |  |  | y-int | 10.2561 | 15.1855 | -187
35 | 11CARAPL06 |  |  | 15.9975 | 0.0331 | 21.8685 | 21.8684 | 0.15 | 2013-07-10 | 28222 | 28222.5645 | 0.093761 | 3.1254 | 3.1187 | 94.2197 |  | 100.1555 | 100.7814 | 99.08
36 | 11CARAPL06 |  |  | 15.9976 | 0.0308 | 21.8683 | 21.8677 | 0.15 | 2013-07-10 | 26590 | 26593.1912 | 0.088348 | 2.9449 | 2.9382 | 95.3972 |  | 101.4072
37 | 11CARAPL06+spike |  |  | 16.098 | 0.0325 | 21.9903 | 21.9898 | 0.15 | 2013-07-10 | 46195 | 46199.62 | 0.15348 | 5.1162 | 5.1095 | 157.2139 | 104.05
38 | 11CARAPL06+spike |  |  | 15.9859 | 0.0299 | 21.8701 | 21.8701 | 0.15 | 2013-07-10 | 45195 | 45195 | 0.15015 | 5.0049 | 4.9982 | 167.1639 | 98.4874
39 | Mussel |  |  | 15.9524 | 0.0258 | 21.8125 | 21.8121 | 0.15 | 2013-07-10 | 5463 | 5463.4371 | 0.018151 | 0.60502 | 0.59832 | 23.1908 |  | 24.3735 | 23.7781 | 28.09+/-0.31 | Mussel
40 | Mussel |  |  | 16.1415 | 0.0248 | 22.011 | 22.0107 | 0.15 | 2013-07-10 | 5000 | 5000.3 | 0.016612 | 0.55373 | 0.54703 | 22.0578 |  | 23.1828

## 25-26July2013
DIGESTION DATE: | 2013-07-25
DIGESTION DATA
Digestion Vial | bottle id | Site | Sample Date | Empty Vial | Tissue | Full Vial | Full Vial | Amount of | Analysis Date |  | Peak Area |  | Total | Total | [6 empty] | Digestion Reagent
Number |  |  |  | Weight | Weight | Weight w/ acid | Weight post Digestion | Sample Added |  | Peak | Corrected For |  | ng MeHg in | ng MeHg blank | MeHg | Spike recovery | Water Corrected | Average | Certified Value |  | Type | Quantity (mL) | Brooks Rand MeHgCl conc. (mg/L) | Brooks Rand MeHgOH conc. (mg/L) | Average spike Recovery (%)
|  |  |  | (g) | (g) | (g) | (g) |  |  | Height | Digestion Volume | ng MeHg | digestion | corrected | ng/g | % | SRMs | SRM | SRM |  | 30% Nitric acid | 5 | 1.03 | 1.11 | 1.0622
1 | acid blank |  |  | 15.954 | n/a | 21.8181 | 21.8182 | 0.15 | 2013-07-26 | 71 | 70.9986 | 0.00023211 | 0.007737
2 | acid blank |  |  | 16.0539 | n/a | 21.9185 | 21.9185 | 0.15 | 2013-07-26 | 177 | 177 | 0.00057866 | 0.019289
3 | acid blank with spike |  |  | 15.9501 | n/a | 21.7975 | 21.7976 | 0.15 | 2013-07-26 | 19829 | 19828.6034 | 0.064824 | 2.1608 | 2.1473 |  | 107.3651 | [5 empty] | ANALYSIS DATE: |  | 2013-07-26
4 | acid blank with spike |  |  | 16.0605 | n/a | 21.9236 | 21.9243 | 0.15 | 2013-07-26 | 18951 | 18948.3472 | 0.061947 | 2.0649 | 2.0514 |  | 102.5688
5 | TORT-2 |  |  | 15.9486 | 0.0263 | 21.8276 | 21.8279 | 0.15 | 2013-07-26 | 33845 | 33842.9694 | 0.11064 | 3.688 | 3.6745 | 139.7152 |  | 148.5173 | 149.8367 | 152 +/-13 | TORT-2 |  | Standard | Curve 1 | Curve 2 | Curve 1 Brooks Rand 12March2009 | Time of Day | pg | Initial calibration verification | Continuing calibration verification
6 | TORT-2 |  |  | 16.0285 | 0.0261 | 21.9125 | 21.9119 | 0.15 | 2013-07-26 | 34177 | 34181.1017 | 0.11175 | 3.7249 | 3.7114 | 142.1976 |  | 151.1561 | [5 empty] | MeHgCl | MeHgCl |  |  |  | MeHgCl | MeHgOH
7 | 74 Odonates Rep. 1 | Ells Riff 5 | 2012-06-21 | 16.015 | 0.0335 | 21.9061 | 21.9044 | 0.15 | 2013-07-26 | 16209 | 16214.5129 | 0.053009 | 1.767 | 1.7535 | 52.342 | [6 empty] | CalBlank | 58 | 43 | 47 | AM | 5 | 1618
8 | 75 Odonates Rep. 2 | Ells Riff 5 | 2012-06-21 | 15.9922 | 0.0306 | 21.8787 | 21.877 | 0.15 | 2013-07-26 | 12771 | 12775.3436 | 0.041766 | 1.3922 | 1.3787 | 45.0547 | [6 empty] | CalBlank | 58 | 43 | 47 | AM | 5 | 1604
9 | 76 Odonates Rep. 3 | Ells Riff 5 | 2012-06-21 | 15.9863 | 0.0315 | 21.8672 | 21.8674 | 0.15 | 2013-07-26 | 13928 | 13927.4429 | 0.045532 | 1.5177 | 1.5042 | 47.7532 |  |  |  | duplicate | 14% difference |  | 0 | 58 | 43 | 47 | AM | 5 | 1633
10 | 76 Odonates Rep. 3 | Ells Riff 5 | 2012-06-21 | 16.0748 | 0.0344 | 21.9586 | 21.9573 | 0.15 | 2013-07-26 | 11586 | 11589.0131 | 0.037887 | 1.2629 | 1.2494 | 36.3196 |  |  |  | duplicate |  |  | 0.5 | 163 | 178 | 187 | AM | 5 | 1647 | 1763
11 | 77 Odonates Rep. 4 | Ells Riff 5 | 2012-06-21 | 16.1725 | 0.0308 | 22.0509 | 22.0505 | 0.15 | 2013-07-26 | 15349 | 15350.228 | 0.050184 | 1.6728 | 1.6593 | 53.8725 | [6 empty] | 1 | 380 | 335 | 349 | AM | 5 | 1707 | 1622
12 | 78 Odonates Rep. 5 | Ells Riff 5 | 2012-06-21 | 15.9938 | 0.0338 | 21.8836 | 21.8834 | 0.15 | 2013-07-26 | 17131 | 17131.6853 | 0.056008 | 1.8669 | 1.8534 | 54.8345 | [6 empty] | 2 | 767 | 693 | 679 | AM | 5 | 1689 | 1642
13 | 79 Odonates Rep. 6 | Ells Riff 5 | 2012-06-21 | 15.9555 | 0.0306 | 21.838 | 21.837 | 0.15 | 2013-07-26 | 16212 | 16215.243 | 0.053011 | 1.767 | 1.7535 | 57.3051 | [6 empty] | 5 | 1647 | 1565 | 3073 | PM | 50 | 18500
14 | 80 Odonates Rep. 7 | Ells Riff 5 | 2012-06-21 | 16.0984 | 0.031 | 21.9846 | 21.9843 | 0.15 | 2013-07-26 | 16793 | 16794.0076 | 0.054904 | 1.8301 | 1.8166 | 58.6002 | [6 empty] | 10 | 3246 | 3317 |  | PM | 50 | 14978
15 | 66 Odonates Rep. 1 | Ells Riff 5 | 2012-07-24 | 16.0569 | 0.033 | 21.9377 | 21.9359 | 0.15 | 2013-07-26 | 16358 | 16363.891 | 0.053497 | 1.7832 | 1.7697 | 53.6283 | [6 empty] | 50 | 15817 | 16450 | 15008 | PM | 50 | 15766
16 | 67 Odonates Rep. 2 | Ells Riff 5 | 2012-07-24 | 16.0428 | 0.0334 | 21.9188 | 21.9183 | 0.15 | 2013-07-26 | 22713 | 22715.2715 | 0.074262 | 2.4754 | 2.4619 | 73.7088 | [6 empty] | 200 |  |  | 77803 | PM | 50 | 16732
17 | 68 Odonates Rep. 3 | Ells Riff 5 | 2012-07-24 | 16.0707 | 0.0321 | 21.9454 | 21.946 | 0.15 | 2013-07-26 | 16555 | 16553.0136 | 0.054116 | 1.8039 | 1.7903 | 55.774 | [6 empty] | 500 |  |  | 312462 | PM | 50 | 15817
18 | 69 Odonates Rep. 4 | Ells Riff 5 | 2012-07-24 | 15.992 | 0.0317 | 21.8644 | 21.8642 | 0.15 | 2013-07-26 | 16277 | 16277.6511 | 0.053216 | 1.7739 | 1.7603 | 55.5312 | [10 empty] | PM | 50 | 15126
19 | 70 Odonates Rep. 5 | Ells Riff 5 | 2012-07-24 | 15.9476 | 0.0336 | 21.8233 | 21.8184 | 0.15 | 2013-07-26 | 17503 | 17520.1698 | 0.057278 | 1.9093 | 1.8957 | 56.4208 | [6 empty] | 0-500 pg
20 | 71 Odonates Rep. 6 | Ells Riff 5 | 2012-07-24 | 16.017 | 0.0331 | 21.8888 | 21.8863 | 0.15 | 2013-07-26 | 17833 | 17841.921 | 0.058329 | 1.9443 | 1.9308 | 58.3324 | [6 empty] | slope | 315.0582 | 328.7537 | 606.1384 | Note:
21 | 72 Odonates Rep. 7 | Ells Riff 5 | 2012-07-24 | 15.9958 | 0.032 | 21.8742 | 21.8713 | 0.15 | 2013-07-26 | 15720 | 15729.1229 | 0.051422 | 1.7141 | 1.7006 | 53.1426 | [6 empty] | Calblank 0.5% | 58 | 43 | 47 | replaced value "1808" at 5 pg MeHg
22 | 3 Plecoptera Rep. 1 | STB Riff 10 | 2012-08-29 | 15.9935 | 0.0306 | 21.8743 | 21.8732 | 0.15 | 2013-07-26 | 2241 | 2241.4931 | 0.007328 | 0.24427 | 0.23075 | 7.5409 | [6 empty] | y-int | 70.9308 | 8.7673 | -6268.4983 | of curve with 5 pg MeHg value "1647"
23 | 4 Plecoptera Rep. 2 | STB Riff 10 | 2012-08-29 | 16.0361 | 0.033 | 21.9183 | 21.9183 | 0.15 | 2013-07-26 | 2507 | 2507 | 0.008196 | 0.2732 | 0.25969 | 7.8693 | [10 empty] | from calibration verification
24 | 43 Odonates Rep. 1 | Ells Riff 4 | 2012-08-28 | 16.0053 | 0.0311 | 21.8797 | 21.879 | 0.15 | 2013-07-26 | 12314 | 12315.7242 | 0.040263 | 1.3421 | 1.3286 | 42.7199
25 | 44 Odonates Rep. 2 | Ells Riff 4 | 2012-08-28 | 16.1401 | 0.0303 | 22.0116 | 22.0094 | 0.15 | 2013-07-26 | 11171 | 11175.9174 | 0.036537 | 1.2179 | 1.2044 | 39.7485 | [6 empty] | 0-20 pg |  |  |  | Note:
26 | 45 Odonates Rep. 3 | Ells Riff 4 | 2012-08-28 | 16.0595 | 0.0304 | 21.9284 | 21.9287 | 0.15 | 2013-07-26 | 17892 | 17890.9265 | 0.05849 | 1.9497 | 1.9361 | 63.6889 | [6 empty] | slope | 319.4411 | 326.4804 | 620 | removed value "69937" at 200 pg MeHg
27 | 46 Odonates Rep. 4 | Ells Riff 4 | 2012-08-28 | 16.0757 | 0.0307 | 21.9467 | 21.9437 | 0.15 | 2013-07-26 | 13177 | 13184.9109 | 0.043105 | 1.4368 | 1.4233 | 46.3618 |  |  |  | duplicate | 3% difference |  | Calblank 0.5% | 58 | 43 | 47 | of curve as an outlier
28 | 46 Odonates Rep. 4 | Ells Riff 4 | 2012-08-28 | 15.9463 | 0.0337 | 21.824 | 21.8231 | 0.15 | 2013-07-26 | 15362 | 15364.7657 | 0.050231 | 1.6744 | 1.6609 | 49.2836 |  |  |  | duplicate |  |  | y-int | 58.5566 | 15.1855 | -187
29 | 29 Odonates Rep. 1 | Ells Riff 2 | 2012-06-20 | 15.9785 | 0.0321 | 21.8542 | 21.8533 | 0.15 | 2013-07-26 | 9714 | 9715.7488 | 0.031763 | 1.0588 | 1.0453 | 32.5625 | [10 empty] | Note:
30 | 30 Odonates Rep. 2 | Ells Riff 2 | 2012-06-20 | 15.9609 | 0.0331 | 21.839 | 21.839 | 0.15 | 2013-07-26 | 11893 | 11893 | 0.038881 | 1.296 | 1.2825 | 38.7469 | [10 empty] | replaced value "16665" at 50 pg MeHg
31 | 11CARAPL04 |  |  | 16.0068 | 0.0321 | 21.8843 | 21.884 | 0.15 | 2013-07-26 | 15778 | 15778.9467 | 0.051585 | 1.7195 | 1.706 | 53.1462 |  | 56.4944 | 57.1008 | 53.6 | Last year's samples | [5 empty] | of curve with 50 pg MeHg value "15817"
32 | 11CARAPL04 |  |  | 15.9313 | 0.0317 | 21.8072 | 21.8079 | 0.15 | 2013-07-26 | 15918 | 15915.7718 | 0.052032 | 1.7344 | 1.7209 | 54.2871 |  | 57.7072 | [8 empty] | from calibration verification
33 | 11CARAPL04+spike |  |  | 15.8737 | 0.0313 | 21.768 | 21.7654 | 0.15 | 2013-07-26 | 35284 | 35302.3572 | 0.11541 | 3.8471 | 3.8335 | 122.4775 | 106.005
34 | 11CARAPL04+spike |  |  | 16.0992 | 0.0327 | 22.0045 | 22.0057 | 0.15 | 2013-07-26 | 35465 | 35456.4904 | 0.11592 | 3.8639 | 3.8503 | 117.7475 | 106.8448
35 | 11CARAPL11 |  |  | 16.0728 | 0.0302 | 21.9505 | 21.9506 | 0.15 | 2013-07-26 | 1551 | 1550.969 | 0.0050705 | 0.16902 | 0.1555 | 5.1491 |  | 5.4735 | 5.9518 | 6.41
36 | 11CARAPL11 |  |  | 16.0491 | 0.0333 | 21.925 | 21.9239 | 0.15 | 2013-07-26 | 1972 | 1972.4339 | 0.0064484 | 0.21495 | 0.20143 | 6.049 |  | 6.4301
37 | 11CARAPL11+spike |  |  | 16.0757 | 0.03 | 21.9588 | 21.9598 | 0.15 | 2013-07-26 | 21031 | 21026.7946 | 0.068742 | 2.2914 | 2.2779 | 75.9291 | 104.9703
38 | 11CARAPL11+spike |  |  | 16.0392 | 0.0304 | 21.9293 | 21.9301 | 0.15 | 2013-07-26 | 21875 | 21871.5006 | 0.071503 | 2.3834 | 2.3699 | 77.9581 | 109.5729
39 | Mussel |  |  | 15.9872 | 0.0251 | 21.8516 | 21.8505 | 0.15 | 2013-07-26 | 5515 | 5516.2136 | 0.018034 | 0.60113 | 0.58761 | 23.4109 |  | 24.6049 | 23.7564 | 28.09+/-0.31 | Mussel
40 | Mussel |  |  | 16.0241 | 0.0255 | 21.8934 | 21.895 | 0.15 | 2013-07-26 | 5226 | 5224.3282 | 0.01708 | 0.56932 | 0.55581 | 21.7963 |  | 22.9079

## 13-14Aug2013
DIGESTION DATE: | 2013-08-13
DIGESTION DATA | [21 empty] | Digestion Reagent
Digestion Vial | bottle id | Site | Sample Date | Empty Vial | Tissue | Full Vial | Full Vial | Amount of | Analysis Date | Notes |  | Peak Area |  | Total | Total | [6 empty] | Type | Quantity (mL) | Brooks Rand MeHgCl conc. (mg/L) | Brooks Rand MeHgOH conc. (mg/L) | Average spike Recovery (%)
Number |  |  |  | Weight | Weight | Weight w/ acid | Weight post Digestion | Sample Added |  |  | Peak | Corrected For |  | ng MeHg in | ng MeHg blank | MeHg | Spike recovery | Water Corrected | Average | Certified Value |  | 30% Nitric acid | 5 | 1.03 | 1.11 | 1.0377
|  |  |  | (g) | (g) | (g) | (g) |  |  |  | Height | Digestion Volume | ng MeHg | digestion | corrected | ng/g | % | SRMs | SRM | SRM
1 | acid blank |  |  | 15.9 | n/a | 21.7427 | 21.7429 | 0.15 | 2013-08-14 |  | 81 | 80.9968 | 0.00025004 | 0.0083347
2 | acid blank |  |  | 16.1298 | n/a | 21.9757 | 21.9759 | 0.15 | 2013-08-14 |  | 75 | 74.997 | 0.00023152 | 0.0077173 | [8 empty] | ANALYSIS DATE: |  | 2013-08-14
3 | acid blank with spike |  |  | 16.074 | n/a | 21.9473 | 21.9475 | 0.15 | 2013-08-14 |  | 19983 | 19982.2007 | 0.061686 | 2.0562 | 2.0482 |  | 102.4088
4 | acid blank with spike |  |  | 15.9865 | n/a | 21.8627 | 21.8627 | 0.15 | 2013-08-14 |  | 20359 | 20359 | 0.062849 | 2.095 | 2.0869 |  | 104.3474 | [5 empty] | Standard | Curve 1 | Curve 2 | Curve 1 Brooks Rand 12March2009 | Time of Day | pg | Initial calibration verification | Continuing calibration verification
5 | TORT-2 |  |  | 15.9943 | 0.0251 | 21.8671 | 21.8663 | 0.15 | 2013-08-14 |  | 30793 | 30797.9277 | 0.095075 | 3.1692 | 3.1611 | 125.9415 |  | 133.8758 | 134.0209 | 152 +/-13 | TORT-2 |  |  | MeHgCl | MeHgCl |  |  |  | MeHgCl | MeHgOH
6 | TORT-2 |  |  | 16.0287 | 0.0278 | 21.777 | 21.7758 | 0.15 | 2013-08-14 |  | 34168 | 34176.2023 | 0.1055 | 3.5168 | 3.5088 | 126.2144 |  | 134.1659 |  |  |  |  | CalBlank | 50 | 43 | 47 | AM | 5 | 1603
7 | 5 Odonates Rep. 1 | Ells Riff 2 | 2012-07-25 | 16.1058 | 0.0327 | 21.7416 | 21.7389 | 0.15 | 2013-08-14 |  | 16884 | 16893.1223 | 0.05215 | 1.7383 | 1.7303 | 52.9145 | [6 empty] | CalBlank | 50 | 43 | 47 | AM | 5 | 1559
8 | 6 Odonates Rep. 2 | Ells Riff 2 | 2012-07-25 | 15.9953 | 0.0306 | 21.6449 | 21.6448 | 0.15 | 2013-08-14 | sample not ground | 15961 | 15961.3192 | 0.049273 | 1.6424 | 1.6344 | 53.4124 | [6 empty] | 0 | 50 | 43 | 47 | AM | 5 | 1637
9 | 7 Odonates Rep. 3 | Ells Riff 2 | 2012-07-25 | 16.154 | 0.0314 | 21.8426 | 21.841 | 0.15 | 2013-08-14 |  | 18123 | 18128.8012 | 0.055965 | 1.8655 | 1.8575 | 59.1547 | [6 empty] | 0.5 | 191 | 178 | 187 | AM | 5 | 1678 | 1678
10 | 8 Odonates Rep. 4 | Ells Riff 2 | 2012-07-25 | 16.0033 | 0.0305 | 21.7064 | 21.7045 | 0.15 | 2013-08-14 |  | 17428 | 17434.6252 | 0.053822 | 1.7941 | 1.786 | 58.5582 | [6 empty] | 1 | 337 | 335 | 349 | AM | 5 | 1653 | 1632
11 | 10 Odonates Rep. 6 | Ells Riff 2 | 2012-07-25 | 16.0139 | 0.0328 | 21.8988 | 21.8968 | 0.15 | 2013-08-14 |  | 15847 | 15853.3413 | 0.04894 | 1.6313 | 1.6233 | 49.4911 | [6 empty] | 2 | 688 | 693 | 679 | AM | 5 | 1636 | 1577
12 | 11 Odonates Rep. 7 | Ells Riff 2 | 2012-07-25 | 16.0101 | 0.0336 | 21.8975 | 21.8951 | 0.15 | 2013-08-14 |  | 15813 | 15820.5939 | 0.048839 | 1.628 | 1.6199 | 48.2125 |  |  |  | duplicate | 0.05% difference |  | 5 | 1663 | 1565 | 3073 | PM | 50 | 16326
13 | 11 Odonates Rep. 7 | Ells Riff 2 | 2012-07-25 | 16.0108 | 0.0316 | 21.8951 | 21.8906 | 0.15 | 2013-08-14 |  | 14887 | 14900.4104 | 0.045998 | 1.5333 | 1.5253 | 48.2674 |  |  |  | duplicate |  |  | 10 | 3235 | 3317 |  | PM | 50 | 16335
14 | 9 Odonates Rep. 5 | Ells Riff 2 | 2012-07-25 | 15.9988 | 0.0313 | 21.8797 | 21.874 | 0.15 | 2013-08-14 |  | 14182 | 14198.1859 | 0.04383 | 1.461 | 1.453 | 46.4214 | [6 empty] | 50 | 16705 | 16450 | 15008 | PM | 50 | 17095
15 | 31 Odonates Rep. 3 | Ells Riff 2 | 2012-06-20 | 16.0025 | 0.0384 | 21.8895 | 21.8847 | 0.15 | 2013-08-14 |  | 16772 | 16788.1166 | 0.051826 | 1.7275 | 1.7195 | 44.7786 | [6 empty] | 200 |  |  | 77803 | PM | 50 | 16792
16 | 32 Odonates Rep. 4 | Ells Riff 2 | 2012-06-20 | 16.0087 | 0.0312 | 21.8928 | 21.8907 | 0.15 | 2013-08-14 |  | 13157 | 13162.5283 | 0.040633 | 1.3544 | 1.3464 | 43.1545 | [6 empty] | 500 |  |  | 312462 | PM | 50 | 16056
17 | 33 Odonates Rep. 5 | Ells Riff 2 | 2012-06-20 | 16.0326 | 0.0351 | 21.9109 | 21.9081 | 0.15 | 2013-08-14 |  | 13838 | 13845.7536 | 0.042743 | 1.4248 | 1.4167 | 40.3625 | [10 empty] | PM | 50 | 16313
18 | 87 Odonates Rep. 1 | Ells Riff 5 | 2012-08-28 | 16.0344 | 0.0302 | 21.9095 | 21.9071 | 0.15 | 2013-08-14 |  | 21330 | 21340.2433 | 0.065878 | 2.1959 | 2.1879 | 72.4477 | [6 empty] | 0-500 pg
19 | 88 Odonates Rep. 2 | Ells Riff 5 | 2012-08-28 | 16.0554 | 0.0311 | 21.9332 | 21.9297 | 0.15 | 2013-08-14 |  | 18507 | 18519.964 | 0.057172 | 1.9057 | 1.8977 | 61.0196 | [6 empty] | slope | 333.652 | 328.7537 | 606.1384 | Note:
20 | 89 Odonates Rep. 3 | Ells Riff 5 | 2012-08-28 | 15.9042 | 0.0321 | 21.7841 | 21.7823 | 0.15 | 2013-08-14 |  | 24076 | 24084.6705 | 0.074351 | 2.4784 | 2.4703 | 76.9572 | [6 empty] | Calblank 0.5% | 50 | 43 | 47 | removed value "62027" at 200 pg MeHg
21 | 90 Odonates Rep. 4 | Ells Riff 5 | 2012-08-28 | 15.9958 | 0.0297 | 21.8575 | 21.8554 | 0.15 | 2013-08-14 |  | 18993 | 19000.9804 | 0.058657 | 1.9552 | 1.9472 | 65.5625 |  |  |  | duplicate | 3% difference |  | y-int | 1.9773 | 8.7673 | -6268.4983 | of curve as an outlier
22 | 90 Odonates Rep. 4 | Ells Riff 5 | 2012-08-28 | 15.9776 | 0.031 | 21.8508 | 21.8489 | 0.15 | 2013-08-14 |  | 18607 | 18614.0733 | 0.057463 | 1.9154 | 1.9074 | 61.5288 |  |  |  | duplicate
23 | 91 Odonates Rep. 5 | Ells Riff 5 | 2012-08-28 | 16.0071 | 0.0341 | 21.88 | 21.8765 | 0.15 | 2013-08-14 |  | 20804 | 20818.573 | 0.064268 | 2.1423 | 2.1342 | 62.5877
24 | 92 Odonates Rep. 6 | Ells Riff 5 | 2012-08-28 | 16.0632 | 0.0303 | 21.9287 | 21.926 | 0.15 | 2013-08-14 |  | 17187 | 17196.286 | 0.053086 | 1.7695 | 1.7615 | 58.1353 | [6 empty] | 0-20 pg
25 | 93 Odonates Rep. 7 | Ells Riff 5 | 2012-08-28 | 16.1117 | 0.0316 | 21.9721 | 21.97 | 0.15 | 2013-08-14 |  | 16179 | 16185.798 | 0.049966 | 1.6655 | 1.6575 | 52.4531 | [6 empty] | slope | 320.5623 | 326.4804 | 620
26 | 1 |  |  | 16.0119 | 0.032 | 21.8756 | 21.873 | 0.15 | 2013-08-14 | Dragonfly [THg+MeHg] | 10544 | 10549.4857 | 0.032567 | 1.0856 | 1.0775 | 33.6729 | [6 empty] | Calblank 0.5% | 50 | 43 | 47
27 | 2 |  |  | 16.0259 | 0.0309 | 21.8945 | 21.8913 | 0.15 | 2013-08-14 | Dragonfly [THg+MeHg] | 16060 | 16070.285 | 0.04961 | 1.6537 | 1.6456 | 53.2567 | [6 empty] | y-int | 38.9328 | 15.1855 | -187
28 | 3 |  |  | 16.0143 | 0.0315 | 21.8894 | 21.8876 | 0.15 | 2013-08-14 | Dragonfly [THg+MeHg] | 16914 | 16920.0912 | 0.052233 | 1.7411 | 1.7331 | 55.0184
29 | 4 |  |  | 15.9454 | 0.0292 | 21.8138 | 21.8106 | 0.15 | 2013-08-14 | Dragonfly [THg+MeHg] | 11009 | 11016.0503 | 0.034007 | 1.1336 | 1.1255 | 38.546
30 | 5 |  |  | 15.9062 | 0.0301 | 21.7765 | 21.772 | 0.15 | 2013-08-14 | Dragonfly [THg+MeHg] | 12053 | 12063.8575 | 0.037242 | 1.2414 | 1.2334 | 40.9756
31 | 11CARAPL11 |  |  | 16.0511 | 0.0319 | 21.9278 | 21.9257 | 0.15 | 2013-08-14 |  | 1795 | 1795.7542 | 0.0055436 | 0.18479 | 0.17676 | 5.5411 |  | 5.8902 | 5.9695 | 6.41 | Last year's samples
32 | 11CARAPL11 |  |  | 16.0238 | 0.0331 | 21.9083 | 21.9073 | 0.15 | 2013-08-14 |  | 1908 | 1908.3817 | 0.0058913 | 0.19638 | 0.18835 | 5.6903 |  | 6.0488
33 | 11CARAPL11+spike |  |  | 15.9666 | 0.0304 | 21.8563 | 21.8552 | 0.15 | 2013-08-14 |  | 23066 | 23071.0756 | 0.071222 | 2.3741 | 2.366 | 77.8298 | 109.1735
34 | 11CARAPL11+spike |  |  | 15.978 | 0.0291 | 21.8678 | 21.8666 | 0.15 | 2013-08-14 |  | 22156 | 22161.3187 | 0.068413 | 2.2804 | 2.2724 | 78.0897 | 104.4928
35 | 11CARAPL12 |  |  | 16.0541 | 0.0322 | 21.9425 | 21.9413 | 0.15 | 2013-08-14 |  | 2465 | 2465.5917 | 0.0076114 | 0.25371 | 0.24569 | 7.63 |  | 8.1107 | 8.2685 | 7.64
36 | 11CARAPL12 |  |  | 16.058 | 0.0303 | 21.9349 | 21.9347 | 0.15 | 2013-08-14 |  | 2412 | 2412.0965 | 0.0074463 | 0.24821 | 0.24018 | 7.9268 |  | 8.4262
37 | 11CARAPL12+spike |  |  | 15.9779 | 0.0307 | 21.8767 | 21.8759 | 0.15 | 2013-08-14 |  | 21350 | 21353.4165 | 0.065919 | 2.1973 | 2.1893 | 71.3119 | 97.317
38 | 11CARAPL12+spike |  |  | 16.0856 | 0.0303 | 21.9887 | 21.9885 | 0.15 | 2013-08-14 |  | 22826 | 22826.9131 | 0.070468 | 2.3489 | 2.3409 | 77.2575 | 104.8983
39 | Mussel |  |  | 16.0959 | 0.0247 | 21.9655 | 21.9653 | 0.15 | 2013-08-14 |  | 5488 | 5488.2195 | 0.016942 | 0.56475 | 0.55672 | 22.5393 |  | 23.6888 | 23.6069 | 28.09+/-0.31 | Mussel
40 | Mussel |  |  | 15.9874 | 0.0253 | 21.8642 | 21.863 | 0.15 | 2013-08-14 |  | 5580 | 5581.3395 | 0.01723 | 0.57433 | 0.5663 | 22.3835 |  | 23.5251

## all data mehg
Sample ID | Site | Collection Date | MeHg (ng/g) | Analysis date
1 Odonates | STBRiff10 | 2012-08-29 | 35.1696 | 2013-06-26 | duplicate | 36.557
1 Odonates | STBRiff10 | 2012-08-29 | 37.9445 | 2013-06-26 | duplicate | 3.8% difference
2 Odonates | STBRiff10 | 2012-08-29 | 33.4143 | 2013-06-26
64 Odonates | STB Riff 10 | 2012-06-20 | 29.465 | 2013-06-26 | duplicate | 29.5805
64 Odonates | STB Riff 10 | 2012-06-20 | 29.6961 | 2013-06-26 | duplicate | 0.5% difference
65 Odonates | STB Riff 10 | 2012-06-20 | 38.4032 | 2013-06-26
52 Odonates | STB Riff 1 | 2012-08-29 | 40.5713 | 2013-06-26
61 Odonates | Ells Riff 2 | 2012-08-29 | 54.6207 | 2013-06-26
62 Odonates | Ells Riff 2 | 2012-08-29 | 67.6179 | 2013-06-26
63 Odonates | Ells Riff 2 | 2012-08-29 | 50.1676 | 2013-06-26
53 Odonates | Ells Riff 2 | 2012-10-23 | 72.9541 | 2013-06-26
57 Plecoptera | Ells Riff 4 | 2012-06-20 | 10.3229 | 2013-06-26
40 Odonates | Ells Riff 4 | 2012-10-23 | 48.806 | 2013-06-26
41 Odonates | Ells Riff 4 | 2012-10-23 | 50.0489 | 2013-06-26
42 Odonates | Ells Riff 4 | 2012-10-23 | 48.2871 | 2013-06-26
73 Plecoptera | Ells Riff 5 | 2012-07-24 | 46.7268 | 2013-06-26
16 Odonates | STBWSC | 2012-08-29 | 63.6252 | 2013-06-26
17 Odonates | STBWSC | 2012-08-29 | 38.4758 | 2013-06-26
18 Odonates | STBWSC | 2012-08-29 | 51.3907 | 2013-06-26
36 Plecoptera | Ells Riff 2 | 2012-06-20 | 4.4912 | 2013-07-10 | duplicate | 4.5654
36 Plecoptera | Ells Riff 2 | 2012-06-20 | 4.6396 | 2013-07-10 | duplicate | 1.6% difference
37 Plecoptera | Ells Riff 2 | 2012-06-20 | 7.2191 | 2013-07-10
38 Plecoptera Rep. 3 | Ells Riff 2 | 2012-06-20 | 5.942 | 2013-07-10
21 Odonates Rep. 1 | STB Riff 7 | 2012-08-29 | 38.434 | 2013-07-10
22 Odonates Rep. 2 | STB Riff 7 | 2012-08-29 | 34.2124 | 2013-07-10
23 Odonates Rep. 3 | STB Riff 7 | 2012-08-29 | 10.3153 | 2013-07-10
25 Odonates Rep. 1 | STB Riff 10 | 2012-07-26 | 34.8854 | 2013-07-10
26 Odonates Rep. 2 | STB Riff 10 | 2012-07-26 | 33.3175 | 2013-07-10
27 Odonates Rep. 3 | STB Riff 10 | 2012-07-26 | 41.6895 | 2013-07-10
28 Plecoptera Rep. 1 | STB Riff 10 | 2012-07-26 | 4.8602 | 2013-07-10 | duplicate | 4.6142
28 Plecoptera Rep. 1 | STB Riff 10 | 2012-07-26 | 4.3682 | 2013-07-10 | duplicate | 5.3% difference
97 Plecoptera Rep. 1 | Ells Riff 5 | 2012-08-28 | 15.9873 | 2013-07-10
98 Plecoptera Rep. 2 | Ells Riff 5 | 2012-08-28 | 13.7446 | 2013-07-10
99 Plecoptera Rep. 3 | Ells Riff 5 | 2012-08-28 | 12.3566 | 2013-07-10
84 Plecoptera Rep. 1 | Ells Riff 5 | 2012-06-21 | 36.1173 | 2013-07-10
85 Plecoptera Rep. 2 | Ells Riff 5 | 2012-06-21 | 10.1442 | 2013-07-10
86 Plecoptera Rep. 3 | Ells Riff 5 | 2012-06-21 | 13.7441 | 2013-07-10
49 Odonates Rep. 1 | Ells Riff 4 | 2012-07-26 | 50.7571 | 2013-07-10
50 Odonates Rep. 2 | Ells Riff 4 | 2012-07-26 | 55.5397 | 2013-07-10
51 Odonates Rep. 3 | Ells Riff 4 | 2012-07-26 | 70.097 | 2013-07-10
54 Odonates Rep. 1 | Ells Riff 4 | 2012-06-20 | 36.2889 | 2013-07-10
55 Odonates Rep. 2 | Ells Riff 4 | 2012-06-20 | 38.1809 | 2013-07-10
56 Odonates Rep. 3 | Ells Riff 4 | 2012-06-20 | 40.1921 | 2013-07-10
74 Odonates Rep. 1 | Ells Riff 5 | 2012-06-21 | 52.342 | 2013-07-26
75 Odonates Rep. 2 | Ells Riff 5 | 2012-06-21 | 45.0547 | 2013-07-26
76 Odonates Rep. 3 | Ells Riff 5 | 2012-06-21 | 47.7532 | 2013-07-26 | duplicate | 42.0364
76 Odonates Rep. 3 | Ells Riff 5 | 2012-06-21 | 36.3196 | 2013-07-26 | duplicate | 13.6% difference
77 Odonates Rep. 4 | Ells Riff 5 | 2012-06-21 | 53.8725 | 2013-07-26
78 Odonates Rep. 5 | Ells Riff 5 | 2012-06-21 | 54.8345 | 2013-07-26
79 Odonates Rep. 6 | Ells Riff 5 | 2012-06-21 | 57.3051 | 2013-07-26
80 Odonates Rep. 7 | Ells Riff 5 | 2012-06-21 | 58.6002 | 2013-07-26
66 Odonates Rep. 1 | Ells Riff 5 | 2012-07-24 | 53.6283 | 2013-07-26
67 Odonates Rep. 2 | Ells Riff 5 | 2012-07-24 | 73.7088 | 2013-07-26
68 Odonates Rep. 3 | Ells Riff 5 | 2012-07-24 | 55.774 | 2013-07-26
69 Odonates Rep. 4 | Ells Riff 5 | 2012-07-24 | 55.5312 | 2013-07-26
70 Odonates Rep. 5 | Ells Riff 5 | 2012-07-24 | 56.4208 | 2013-07-26
71 Odonates Rep. 6 | Ells Riff 5 | 2012-07-24 | 58.3324 | 2013-07-26
72 Odonates Rep. 7 | Ells Riff 5 | 2012-07-24 | 53.1426 | 2013-07-26
3 Plecoptera Rep. 1 | STB Riff 10 | 2012-08-29 | 7.5409 | 2013-07-26
4 Plecoptera Rep. 2 | STB Riff 10 | 2012-08-29 | 7.8693 | 2013-07-26
43 Odonates Rep. 1 | Ells Riff 4 | 2012-08-28 | 42.7199 | 2013-07-26
44 Odonates Rep. 2 | Ells Riff 4 | 2012-08-28 | 39.7485 | 2013-07-26
45 Odonates Rep. 3 | Ells Riff 4 | 2012-08-28 | 63.6889 | 2013-07-26
46 Odonates Rep. 4 | Ells Riff 4 | 2012-08-28 | 46.3618 | 2013-07-26 | duplicate | 47.8227
46 Odonates Rep. 4 | Ells Riff 4 | 2012-08-28 | 49.2836 | 2013-07-26 | duplicate | 3.1% difference
29 Odonates Rep. 1 | Ells Riff 2 | 2012-06-20 | 32.5625 | 2013-07-26
30 Odonates Rep. 2 | Ells Riff 2 | 2012-06-20 | 38.7469 | 2013-07-26
5 Odonates Rep. 1 | Ells Riff 2 | 2012-07-25 | 52.9145 | 2013-08-14
6 Odonates Rep. 2 | Ells Riff 2 | 2012-07-25 | 53.4124 | 2013-08-14
7 Odonates Rep. 3 | Ells Riff 2 | 2012-07-25 | 59.1547 | 2013-08-14
8 Odonates Rep. 4 | Ells Riff 2 | 2012-07-25 | 58.5582 | 2013-08-14
10 Odonates Rep. 6 | Ells Riff 2 | 2012-07-25 | 49.4911 | 2013-08-14
11 Odonates Rep. 7 | Ells Riff 2 | 2012-07-25 | 48.2125 | 2013-08-14 | duplicate | 48.2399
11 Odonates Rep. 7 | Ells Riff 2 | 2012-07-25 | 48.2674 | 2013-08-14 | duplicate | 0.5% difference
9 Odonates Rep. 5 | Ells Riff 2 | 2012-07-25 | 46.4214 | 2013-08-14
31 Odonates Rep. 3 | Ells Riff 2 | 2012-06-20 | 44.7786 | 2013-08-14
32 Odonates Rep. 4 | Ells Riff 2 | 2012-06-20 | 43.1545 | 2013-08-14
33 Odonates Rep. 5 | Ells Riff 2 | 2012-06-20 | 40.3625 | 2013-08-14
87 Odonates Rep. 1 | Ells Riff 5 | 2012-08-28 | 72.4477 | 2013-08-14
88 Odonates Rep. 2 | Ells Riff 5 | 2012-08-28 | 61.0196 | 2013-08-14
89 Odonates Rep. 3 | Ells Riff 5 | 2012-08-28 | 76.9572 | 2013-08-14
90 Odonates Rep. 4 | Ells Riff 5 | 2012-08-28 | 65.5625 | 2013-08-14 | duplicate | 63.5456
90 Odonates Rep. 4 | Ells Riff 5 | 2012-08-28 | 61.5288 | 2013-08-14 | duplicate | 3.2% difference
91 Odonates Rep. 5 | Ells Riff 5 | 2012-08-28 | 62.5877 | 2013-08-14
92 Odonates Rep. 6 | Ells Riff 5 | 2012-08-28 | 58.1353 | 2013-08-14
93 Odonates Rep. 7 | Ells Riff 5 | 2012-08-28 | 52.4531 | 2013-08-14
srm name | certified mean | values | ratio | mean | sd | recovery | % | SD | %
Tort-2 | 152 | 133.8758 | 0.88076 | 142.1584 | 5.8329 | 0.93525 | 93.5252 | 0.038374 | 3.8374
Tort-2 |  | 134.1659 | 0.88267
Tort-2 |  | 148.5173 | 0.97709
Tort-2 |  | 151.1561 | 0.99445
Tort-2 |  | 144.1201 | 0.94816
Tort-2 |  | 144.9592 | 0.95368
Tort-2 |  | 140.4687 | 0.92414
Tort-2 |  | 141.9283 | 0.93374
Tort-2 |  | 140.2338 | 0.92259
Mussel | 28.09 | 23.6888 | 0.84332 | 23.6596 | 0.57766 | 0.84228 | 84.2277 | 0.020565 | 2.0565
Mussel |  | 23.5251 | 0.83749
Mussel |  | 24.6049 | 0.87593
Mussel |  | 22.9079 | 0.81552
Mussel |  | 24.3735 | 0.86769
Mussel |  | 23.1828 | 0.8253
Mussel |  | 23.6814 | 0.84306
Mussel |  | 23.312 | 0.8299

## raw data thg
Name | Hg [ng] | R (mg/kg) | R (ng/g) | Certified Value (ng/g) | Weight (g) | Height Peak | % recovery | Name | Hg [ng] | R (mg/kg) | R (ng/g) | Certified Value (ng/g) | Weight | Height Peak | % recovery | Name | Hg [ng] | R (mg/kg) | R (ng/g) | Certified Value (ng/g) | Weight | %recovery
blank | 1e-05 | 0 | 0 |  | 0.2 | 0.0007 |  | blank | 1e-05 | 0 | 0 |  | 0.2 | 0.0007 |  | blank | 0.00535 | 3e-05 | 0.03 |  | 0.2
blank | 0.00192 | 1e-05 | 0.01 |  | 0.2 | 0.0019 |  | blank | 0.00192 | 1e-05 | 0.01 |  | 0.2 | 0.0019 |  | blank | 0.01909 | 0.0001 | 0.1 |  | 0.2
blank | 1e-05 | 0 | 0 |  | 0.2 | 0.0014 |  | blank | 1e-05 | 0 | 0 |  | 0.2 | 0.0014 |  | blank | 1e-05 | 0 | 0 |  | 0.2
mussel 2976 | 7.8288 | 0.05886 | 58.86 | 61 ± 3.6 | 0.133 | 0.40647 | 0.96492 | mussel 2976 | 7.8288 | 0.05886 | 58.86 | 61 ± 3.6 | 0.133 | 0.40647 | 0.96492 | mussel 2977 | 2.5008 | 0.05912 | 59.12 | 61 ± 3.6 | 0.0423 | 0.96918
mess-3 NRCC | 5.6856 | 0.08996 | 89.96 | 91 ± 9 | 0.0632 | 0.30587 | 0.98857 | mess-3 NRCC | 5.6856 | 0.08996 | 89.96 | 91 ± 9 | 0.0632 | 0.30587 | 0.98857 | mess-3 NRCC | 5.1674 | 0.09146 | 91.46 | 91 ± 9 | 0.0565 | 1.0051
tort-2 NRCC | 11.145 | 0.27724 | 277.24 | 270 ± 60 | 0.0402 | 0.54699 | 1.0268 | tort-2 NRCC | 11.145 | 0.27724 | 277.24 | 270 ± 60 | 0.0402 | 0.54699 | 1.0268 | tort-2 NRCC | 11.0106 | 0.27735 | 277.35 | 270 ± 60 | 0.0397 | 1.0272
STBRiff10 3 Plecoptera Rep.1 | 0.84143 | 0.0176 | 17.6 |  | 0.0478 | 0.0502 |  | STBRiff10 3 Plecoptera Rep.1 | 0.78049 | 0.017795 | 17.795 |  | 0.0439 | 0.04673 |  | STBWSC 12 Odonates Rep.1 | 2.252 | 0.06398 | 63.98 |  | 0.0352
STBRiff10 3 Plecoptera Rep.1 | 0.71955 | 0.01799 | 17.99 |  | 0.04 | 0.04326 |  | STBRiff10 4 Plecoptera Rep.2 | 0.62745 | 0.01669 | 16.69 |  | 0.0376 | 0.038 |  | STBWSC 13 Odonates Rep.2 | 2.2001 | 0.05528 | 55.28 |  | 0.0398
STBRiff10 4 Plecoptera Rep.2 | 0.62745 | 0.01669 | 16.69 |  | 0.0376 | 0.038 |  | EllsRiff2 5 Odonates Rep.1 | 2.089 | 0.06369 | 63.69 |  | 0.0328 | 0.1198 |  | STBWSC 14 Odonates Rep.3 | 2.0708 | 0.06812 | 68.12 |  | 0.0304
EllsRiff2 5 Odonates Rep.1 | 2.089 | 0.06369 | 63.69 |  | 0.0328 | 0.1198 |  | EllsRiff2 6 Odonates Rep.2 | 2.573 | 0.05848 | 58.48 |  | 0.044 | 0.1461 |  | STBWSC 15 Odonates Rep.4 | 2.2851 | 0.0651 | 65.1 |  | 0.0351
EllsRiff2 6 Odonates Rep.2 | 2.573 | 0.05848 | 58.48 |  | 0.044 | 0.1461 |  | EllsRiff2 7 Odonates Rep.3 | 2.5483 | 0.0704 | 70.4 |  | 0.0362 | 0.14477 |  | STBRiff7 19 Odonates Rep.1 | 1.5384 | 0.04884 | 48.84 |  | 0.0315
EllsRiff2 7 Odonates Rep.3 | 2.5483 | 0.0704 | 70.4 |  | 0.0362 | 0.14477 |  | EllsRiff2 8 Odonates Rep.4 | 2.5155 | 0.0693 | 69.3 |  | 0.0363 | 0.14299 |  | STBRiff7 20 Odonates Rep.2 | 1.7601 | 0.05317 | 53.17 |  | 0.0331
EllsRiff2 8 Odonates Rep.4 | 2.5155 | 0.0693 | 69.3 |  | 0.0363 | 0.14299 |  | EllsRiff2 9 Odonates Rep.5 | 2.5064 | 0.07329 | 73.29 |  | 0.0342 | 0.1425 |  | STBRiff10 24 Odonates Rep.1 | 1.5438 | 0.04765 | 47.65 |  | 0.0324
EllsRiff2 9 Odonates Rep.5 | 2.5064 | 0.07329 | 73.29 |  | 0.0342 | 0.1425 |  | EllsRiff2 10 Odonates Rep.6 | 2.5897 | 0.06347 | 63.47 |  | 0.0408 | 0.147 |  | EllsRiff2 34 Plecoptera Rep.1 | 0.37483 | 0.01179 | 11.79 |  | 0.0318
EllsRiff2 10 Odonates Rep.6 | 2.5897 | 0.06347 | 63.47 |  | 0.0408 | 0.147 |  | EllsRiff2 11 Odonates Rep.7 | 2.2111 | 0.06175 | 61.75 |  | 0.035833 | 0.12647 |  | EllsRiff2 35 Plecoptera Rep. 2 | 0.81372 | 0.01937 | 19.37 |  | 0.042
EllsRiff2 11 Odonates Rep.7 | 2.1183 | 0.06286 | 62.86 |  | 0.0337 | 0.1214 |  | EllsRiff2 29 Odonates Rep.1 | 1.983 | 0.05098 | 50.98 |  | 0.0389 | 0.11399 |  | EllsRiff4 39 Odonates Rep.1 | 2.5356 | 0.07406 | 74.06 |  | 0.03425
EllsRiff2 11 Odonates Rep.7 | 2.252 | 0.06204 | 62.04 |  | 0.0363 | 0.1287 |  | EllsRiff2 30 Odonates Rep.2 | 4.0331 | 0.0693 | 69.3 |  | 0.0582 | 0.22307 |  | EllsRiff4 47 Odonates Rep. 1 | 2.4509 | 0.0645 | 64.5 |  | 0.038
EllsRiff2 11 Odonates Rep.7 | 2.263 | 0.06035 | 60.35 |  | 0.0375 | 0.1293 |  | EllsRiff2 31 Odonates Rep.3 | 2.3394 | 0.05863 | 58.63 |  | 0.0399 | 0.13346 |  | EllsRiff4 48 Odonates Rep.2 | 3.0644 | 0.05265 | 52.65 |  | 0.0582
EllsRiff2 29 Odonates Rep.1 | 1.983 | 0.05098 | 50.98 |  | 0.0389 | 0.11399 |  | EllsRiff2 32 Odonates Rep.4 | 4.8106 | 0.07412 | 74.12 |  | 0.0649 | 0.26259 |  | EllsRiff2 58 Odonates Rep.1 | 1.8709 | 0.05333 | 53.33 |  | 0.035
EllsRiff2 30 Odonates Rep.2 | 4.0331 | 0.0693 | 69.3 |  | 0.0582 | 0.22307 |  | EllsRiff2 33 Odonates Rep.5 | 5.1919 | 0.07481 | 74.81 |  | 0.0694 | 0.28161 |  | EllsRiff2 59 Odonates Rep.2 | 3.0851 | 0.07276 | 72.76 |  | 0.0424
EllsRiff2 31 Odonates Rep.3 | 2.3394 | 0.05863 | 58.63 |  | 0.0399 | 0.13346 |  | EllsRiff4 43 Odonates Rep.1 | 3.92 | 0.07179 | 71.79 |  | 0.0546 | 0.21723 |  | EllsRiff2 60 Odonates Rep.3 | 1.668 | 0.05523 | 55.23 |  | 0.0302
EllsRiff2 32 Odonates Rep.4 | 4.8106 | 0.07412 | 74.12 |  | 0.0649 | 0.26259 |  | EllsRiff4 44 Odonates Rep.2 | 3.6393 | 0.07337 | 73.37 |  | 0.0496 | 0.20266 |  | EllsRiff5 81 Plecoptera Rep.1 | 0.65194 | 0.02018 | 20.18 |  | 0.0323
EllsRiff2 33 Odonates Rep.5 | 5.1919 | 0.07481 | 74.81 |  | 0.0694 | 0.28161 |  | EllsRiff4 45 Odonates Rep.3 | 2.3307 | 0.07084 | 70.84 |  | 0.0329 | 0.13298 |  | EllsRiff5 82 Plecoptera Rep.2 | 0.51397 | 0.01658 | 16.58 |  | 0.031
EllsRiff4 43 Odonates Rep.1 | 3.92 | 0.07179 | 71.79 |  | 0.0546 | 0.21723 |  | EllsRiff4 46 Odonates Rep.4 | 3.366 | 0.07027 | 70.27 |  | 0.0479 | 0.18834 |  | EllsRiff5 83 Plecoptera Rep.3 | 0.63444 | 0.02001 | 20.01 |  | 0.0317
EllsRiff4 44 Odonates Rep.2 | 3.6393 | 0.07337 | 73.37 |  | 0.0496 | 0.20266 |  | EllsRiff4 54 Odonates Rep.1 | 2.5946 | 0.05295 | 52.95 |  | 0.049 | 0.14726 |  | EllsRiff5 94 Plecoptera Rep.1 | 0.8978 | 0.02222 | 22.22 |  | 0.0404
EllsRiff4 45 Odonates Rep.3 | 2.3307 | 0.07084 | 70.84 |  | 0.0329 | 0.13298 |  | EllsRiff4 55 Odonates Rep.2 | 3.0116 | 0.05859 | 58.59 |  | 0.0514 | 0.16959 |  | EllsRiff5 95 Plecoptera Rep.2 | 0.65962 | 0.017933 | 17.9333 |  | 0.036867
EllsRiff4 46 Odonates Rep.4 | 3.366 | 0.07027 | 70.27 |  | 0.0479 | 0.18834 |  | EllsRiff4 56 Odonates Rep.3 | 2.9115 | 0.05777 | 57.77 |  | 0.0504 | 0.16426 |  | EllsRiff5 96 Plecoptera Rep.3 | 0.74832 | 0.02281 | 22.81 |  | 0.0328
EllsRiff4 54 Odonates Rep.1 | 2.5946 | 0.05295 | 52.95 |  | 0.049 | 0.14726 |  | EllsRiff5 66 Odonates Rep.1 | 2.3944 | 0.05812 | 58.12 |  | 0.0412 | 0.13644 |  | blank | 0.00535 | 3e-05 | 0.03 |  | 0.2
EllsRiff4 55 Odonates Rep.2 | 3.0116 | 0.05859 | 58.59 |  | 0.0514 | 0.16959 |  | EllsRiff5 67 Odonates Rep.2 | 3.0795 | 0.07937 | 79.37 |  | 0.0388 | 0.1732 |  | blank | 1e-05 | 0 | 0 |  | 0.2
EllsRiff4 56 Odonates Rep.3 | 2.9115 | 0.05777 | 57.77 |  | 0.0504 | 0.16426 |  | EllsRiff5 68 Odonates Rep.3 | 4.0751 | 0.07575 | 75.75 |  | 0.0538 | 0.22523 |  | blank | 0.03628 | 0.00018 | 0.18 |  | 0.2
EllsRiff5 66 Odonates Rep.1 | 2.3944 | 0.05812 | 58.12 |  | 0.0412 | 0.13644 |  | EllsRiff5 69 Odonates Rep.4 | 3.0489 | 0.06977 | 69.77 |  | 0.0437 | 0.17157 |  | mussel 2976 | 1.9742 | 0.06228 | 62.28 | 61 ± 3.6 | 0.0317 | 1.021
EllsRiff5 67 Odonates Rep.2 | 3.0795 | 0.07937 | 79.37 |  | 0.0388 | 0.1732 |  | EllsRiff5 70 Odonates Rep.5 | 2.0562 | 0.06809 | 68.09 |  | 0.0302 | 0.118 |  | mess-3 NRCC | 6.1829 | 0.09228 | 92.28 | 91 ± 9 | 0.067 | 1.0141
EllsRiff5 68 Odonates Rep.3 | 4.0751 | 0.07575 | 75.75 |  | 0.0538 | 0.22523 |  | EllsRiff5 71 Odonates Rep.6 | 4.0984 | 0.07821 | 78.21 |  | 0.0524 | 0.22643 |  | tort-2 NRCC | 13.3144 | 0.28149 | 281.49 | 270 ± 60 | 0.0473 | 1.0426
EllsRiff5 69 Odonates Rep.4 | 3.0489 | 0.06977 | 69.77 |  | 0.0437 | 0.17157 |  | EllsRiff5 72 Odonates Rep.7 | 2.6515 | 0.06283 | 62.83 |  | 0.0422 | 0.15033
EllsRiff5 70 Odonates Rep.5 | 2.0562 | 0.06809 | 68.09 |  | 0.0302 | 0.118 |  | EllsRiff5 74 Odonates Rep.1 | 4.6734 | 0.08156 | 81.56 |  | 0.0573 | 0.25569
EllsRiff5 71 Odonates Rep.6 | 4.0984 | 0.07821 | 78.21 |  | 0.0524 | 0.22643 |  | EllsRiff5 75 Odonates Rep.2 | 4.0863 | 0.07376 | 73.76 |  | 0.0554 | 0.2258
EllsRiff5 72 Odonates Rep.7 | 2.6515 | 0.06283 | 62.83 |  | 0.0422 | 0.15033 |  | EllsRiff5 76 Odonates Rep.3 | 2.7662 | 0.06463 | 64.63 |  | 0.0428 | 0.15649
EllsRiff5 74 Odonates Rep.1 | 4.6734 | 0.08156 | 81.56 |  | 0.0573 | 0.25569 |  | EllsRiff5 77 Odonates Rep.4 | 3.0435 | 0.06886 | 68.86 |  | 0.0442 | 0.17129
EllsRiff5 75 Odonates Rep.2 | 4.0863 | 0.07376 | 73.76 |  | 0.0554 | 0.2258 |  | EllsRiff5 78 Odonates Rep.5 | 4.1516 | 0.07158 | 71.58 |  | 0.058 | 0.22916
EllsRiff5 76 Odonates Rep.3 | 2.7662 | 0.06463 | 64.63 |  | 0.0428 | 0.15649 |  | EllsRiff5 79 Odonates Rep.6 | 6.1635 | 0.0856 | 85.6 |  | 0.072 | 0.32897
EllsRiff5 77 Odonates Rep.4 | 3.0435 | 0.06886 | 68.86 |  | 0.0442 | 0.17129 |  | EllsRiff5 80 Odonates Rep.7 | 3.4146 | 0.07173 | 71.73 |  | 0.0476 | 0.19089
EllsRiff5 78 Odonates Rep.5 | 4.1516 | 0.07158 | 71.58 |  | 0.058 | 0.22916 |  | EllsRiff5 87 Odonates Rep.1 | 2.8038 | 0.07876 | 78.76 |  | 0.0356 | 0.1585
EllsRiff5 79 Odonates Rep.6 | 6.1635 | 0.0856 | 85.6 |  | 0.072 | 0.32897 |  | EllsRiff5 88 Odonates Rep.2 | 3.1052 | 0.07574 | 75.74 |  | 0.041 | 0.17456
EllsRiff5 80 Odonates Rep.7 | 3.4146 | 0.07173 | 71.73 |  | 0.0476 | 0.19089 |  | EllsRiff5 89 Odonates Rep.3 | 2.9592 | 0.08807 | 88.07 |  | 0.0336 | 0.1668
EllsRiff5 87 Odonates Rep.1 | 2.8038 | 0.07876 | 78.76 |  | 0.0356 | 0.1585 |  | EllsRiff5 90 Odonates Rep.4 | 2.9235 | 0.0742 | 74.2 |  | 0.0394 | 0.1649
EllsRiff5 88 Odonates Rep.2 | 3.1052 | 0.07574 | 75.74 |  | 0.041 | 0.17456 |  | EllsRiff5 91 Odonates Rep.5 | 4.0019 | 0.07198 | 71.98 |  | 0.0556 | 0.22146
EllsRiff5 89 Odonates Rep.3 | 2.9592 | 0.08807 | 88.07 |  | 0.0336 | 0.1668 |  | EllsRiff5 92 Odonates Rep.6 | 3.7759 | 0.07448 | 74.48 |  | 0.0507 | 0.20977
EllsRiff5 90 Odonates Rep.4 | 2.9235 | 0.0742 | 74.2 |  | 0.0394 | 0.1649 |  | EllsRiff5 93 Odonates Rep.7 | 2.614 | 0.06448 | 64.48 |  | 0.0404 | 0.14822
EllsRiff5 91 Odonates Rep.5 | 4.0019 | 0.07198 | 71.98 |  | 0.0556 | 0.22146 |  | blank | 0.0105 | 5e-05 | 0.05 |  | 0.2 | 0.0024
EllsRiff5 92 Odonates Rep.6 | 3.7759 | 0.07448 | 74.48 |  | 0.0507 | 0.20977 |  | blank | 0.02425 | 0.00012 | 0.12 |  | 0.2 | 0.0032
EllsRiff5 93 Odonates Rep.7 | 2.9318 | 0.06724 | 67.24 |  | 0.0436 | 0.16534 |  | blank | 0.02081 | 0.0001 | 0.1 |  | 0.2 | 0.003
EllsRiff5 93 Odonates Rep.7 | 2.2961 | 0.06172 | 61.72 |  | 0.0372 | 0.1311 |  | mussel 2976 | 7.8708 | 0.05852 | 58.52 | 61 ± 3.6 | 0.1345 | 0.40837 | 0.95934
blank | 0.0105 | 5e-05 | 0.05 |  | 0.2 | 0.0024 |  | mess-3 NRCC | 5.0086 | 0.09123 | 91.23 | 91 ± 9 | 0.0549 | 0.2725 | 1.0025
blank | 0.02425 | 0.00012 | 0.12 |  | 0.2 | 0.0032 |  | tort-2 NRCC | 14.8438 | 0.26794 | 267.94 | 270 ± 60 | 0.0554 | 0.68202 | 0.99237
blank | 0.02081 | 0.0001 | 0.1 |  | 0.2 | 0.003
mussel 2976 | 7.8708 | 0.05852 | 58.52 | 61 ± 3.6 | 0.1345 | 0.40837 | 0.95934
mess-3 NRCC | 5.0086 | 0.09123 | 91.23 | 91 ± 9 | 0.0549 | 0.2725 | 1.0025
tort-2 NRCC | 14.8438 | 0.26794 | 267.94 | 270 ± 60 | 0.0554 | 0.68202 | 0.99237
| mean blank | 0.05
| std | 0.055941
MDLs = | std x 3 | 0.16782
SRM Name | certified value mean (ng/g) | measured mean | SD | Recovery | % | SD | %
mussel | 61 | 59.36 | 1.4488 | 0.97311 | 97.3115 | 0.023751 | 2.3751
mess-3 | 91 | 91.02 | 0.90737 | 1.0002 | 100.022 | 0.0099711 | 0.99711
tort-2 | 270 | 274.8667 | 5.6082 | 1.018 | 101.8025 | 0.020771 | 2.0771

## summarized data
Sample # | Species | Site | Collection Date | MeHg (ng/g) | THg (ng/g)
52 | Odonates | STB Riff 1 | 2012-08-29 | 40.5713 | n/a
64 | Odonates | STB Riff 10 | 2012-06-20 | 29.5805 | n/a
65 | Odonates | STB Riff 10 | 2012-06-20 | 38.4032 | n/a
24 | Odonates | STB Riff 10 | 2013-07-26 | n/a | 47.65
25 | Odonates | STB Riff 10 | 2013-07-26 | 34.8854 | n/a
26 | Odonates | STB Riff 10 | 2013-07-26 | 33.3175 | n/a
27 | Odonates | STB Riff 10 | 2013-07-26 | 41.6895 | n/a
28 | Plecoptera | STB Riff 10 | 2013-07-26 | 4.6142 | n/a
1 | Odonates | STB Riff 10 | 2012-08-29 | 36.557 | n/a
2 | Odonates | STB Riff 10 | 2012-08-29 | 33.4143 | n/a
3 | Plecoptera | STB Riff 10 | 2012-08-29 | 7.5409 | 17.795
4 | Plecoptera | STB Riff 10 | 2012-08-29 | 7.8693 | 16.69
29 | Odonates | Ells Riff 2 | 2012-06-20 | 32.5625 | 50.98
30 | Odonates | Ells Riff 2 | 2012-06-20 | 38.7469 | 69.3
31 | Odonates | Ells Riff 2 | 2012-06-20 | 44.7786 | 58.63
32 | Odonates | Ells Riff 2 | 2012-06-20 | 43.1545 | 74.12
33 | Odonates | Ells Riff 2 | 2012-06-20 | 40.3625 | 74.81
34 | Plecoptera | Ells Riff 2 | 2012-06-20 | n/a | 11.79
35 | Plecoptera | Ells Riff 2 | 2012-06-20 | n/a | 19.37
36 | Plecoptera | Ells Riff 2 | 2012-06-20 | 4.5654 | n/a
37 | Plecoptera | Ells Riff 2 | 2012-06-20 | 7.2191 | n/a
38 | Plecoptera | Ells Riff 2 | 2012-06-20 | 5.942 | n/a
5 | Odonates | Ells Riff 2 | 2013-07-25 | 52.9145 | 63.69
6 | Odonates | Ells Riff 2 | 2013-07-25 | 53.4124 | 58.48
7 | Odonates | Ells Riff 2 | 2013-07-25 | 59.1547 | 70.4
8 | Odonates | Ells Riff 2 | 2013-07-25 | 58.5582 | 69.3
9 | Odonates | Ells Riff 2 | 2013-07-25 | 46.4214 | 73.29
10 | Odonates | Ells Riff 2 | 2013-07-25 | 49.4911 | 63.47
11 | Odonates | Ells Riff 2 | 2013-07-25 | 48.2399 | 61.75
58 | Odonates | Ells Riff 2 | 2012-08-29 | n/a | 53.33
59 | Odonates | Ells Riff 2 | 2012-08-29 | n/a | 72.76
60 | Odonates | Ells Riff 2 | 2012-08-29 | n/a | 55.23
61 | Odonates | Ells Riff 2 | 2012-08-29 | 54.6207 | n/a
62 | Odonates | Ells Riff 2 | 2012-08-29 | 67.6179 | n/a
63 | Odonates | Ells Riff 2 | 2012-08-29 | 50.1676 | n/a
53 | Odonates | Ells Riff 2 | 2012-10-23 | 72.9541 | n/a
54 | Odonates | Ells Riff 4 | 2012-06-20 | 36.2889 | 52.95
55 | Odonates | Ells Riff 4 | 2012-06-20 | 38.1809 | 58.59
56 | Odonates | Ells Riff 4 | 2012-06-20 | 40.1921 | 57.77
57 | Plecoptera | Ells Riff 4 | 2012-06-20 | 10.3229 | n/a
47 | Odonates | Ells Riff 4 | 2013-07-26 | n/a | 64.5
48 | Odonates | Ells Riff 4 | 2013-07-26 | n/a | 52.65
49 | Odonates | Ells Riff 4 | 2013-07-26 | 50.7571 | n/a
50 | Odonates | Ells Riff 4 | 2013-07-26 | 55.5397 | n/a
51 | Odonates | Ells Riff 4 | 2013-07-26 | 70.097 | n/a
43 | Odonates | Ells Riff 4 | 2013-08-28 | 42.7199 | 71.79
44 | Odonates | Ells Riff 4 | 2013-08-28 | 39.7485 | 73.37
45 | Odonates | Ells Riff 4 | 2013-08-28 | 63.6889 | 70.84
46 | Odonates | Ells Riff 4 | 2013-08-28 | 47.8227 | 70.27
39 | Odonates | Ells Riff 4 | 2012-10-23 | n/a | 74.06
40 | Odonates | Ells Riff 4 | 2012-10-23 | 48.806 | n/a
41 | Odonates | Ells Riff 4 | 2012-10-23 | 50.0489 | n/a
42 | Odonates | Ells Riff 4 | 2012-10-23 | 48.2871 | n/a
81 | Plecoptera | Ells Riff 5 | 2013-06-21 | n/a | 20.18
82 | Plecoptera | Ells Riff 5 | 2013-06-21 | n/a | 16.58
83 | Plecoptera | Ells Riff 5 | 2013-06-21 | n/a | 20.01
84 | Plecoptera | Ells Riff 5 | 2013-06-21 | 36.1173 | n/a
85 | Plecoptera | Ells Riff 5 | 2013-06-21 | 10.1442 | n/a
86 | Plecoptera | Ells Riff 5 | 2013-06-21 | 13.7441 | n/a
74 | Odonates | Ells Riff 5 | 2013-06-21 | 52.342 | 81.56
75 | Odonates | Ells Riff 5 | 2013-06-21 | 45.0547 | 73.76
76 | Odonates | Ells Riff 5 | 2013-06-21 | 42.0364 | 64.63
77 | Odonates | Ells Riff 5 | 2013-06-21 | 53.8725 | 68.86
78 | Odonates | Ells Riff 5 | 2013-06-21 | 54.8345 | 71.58
79 | Odonates | Ells Riff 5 | 2013-06-21 | 57.3051 | 85.6
80 | Odonates | Ells Riff 5 | 2013-06-21 | 58.6002 | 71.73
73 | Plecoptera | Ells Riff 5 | 2012-07-24 | 46.7268 | n/a
66 | Odonates | Ells Riff 5 | 2012-07-24 | 53.6283 | 58.12
67 | Odonates | Ells Riff 5 | 2012-07-24 | 73.7088 | 79.37
68 | Odonates | Ells Riff 5 | 2012-07-24 | 55.774 | 75.75
69 | Odonates | Ells Riff 5 | 2012-07-24 | 55.5312 | 69.77
70 | Odonates | Ells Riff 5 | 2012-07-24 | 56.4208 | 68.09
71 | Odonates | Ells Riff 5 | 2012-07-24 | 58.3324 | 78.21
72 | Odonates | Ells Riff 5 | 2012-07-24 | 53.1426 | 62.83
87 | Odonates | Ells Riff 5 | 2013-08-28 | 72.4477 | 78.76
88 | Odonates | Ells Riff 5 | 2013-08-28 | 61.0196 | 75.74
89 | Odonates | Ells Riff 5 | 2013-08-28 | 76.9572 | 88.07
90 | Odonates | Ells Riff 5 | 2013-08-28 | 63.5456 | 74.2
91 | Odonates | Ells Riff 5 | 2013-08-28 | 62.5877 | 71.98
92 | Odonates | Ells Riff 5 | 2013-08-28 | 58.1353 | 74.48
93 | Odonates | Ells Riff 5 | 2013-08-28 | 52.4531 | 64.48
94 | Plecoptera | Ells Riff 5 | 2013-08-28 | n/a | 22.22
95 | Plecoptera | Ells Riff 5 | 2013-08-28 | n/a | 17.9333
96 | Plecoptera | Ells Riff 5 | 2013-08-28 | n/a | 22.81
97 | Plecoptera | Ells Riff 5 | 2013-08-28 | 15.9873 | n/a
98 | Plecoptera | Ells Riff 5 | 2013-08-28 | 13.7446 | n/a
99 | Plecoptera | Ells Riff 5 | 2013-08-28 | 12.3566 | n/a
12 | Odonates | STBWSC | 2012-08-29 | n/a | 63.98
13 | Odonates | STBWSC | 2012-08-29 | n/a | 55.28
14 | Odonates | STBWSC | 2012-08-29 | n/a | 68.12
15 | Odonates | STBWSC | 2012-08-29 | n/a | 65.1
16 | Odonates | STBWSC | 2012-08-29 | 63.6252 | n/a
17 | Odonates | STBWSC | 2012-08-29 | 38.4758 | n/a
18 | Odonates | STBWSC | 2012-08-29 | 51.3907 | n/a
19 | Odonates | STB Riff 7 | 2012-08-29 | n/a | 48.84
20 | Odonates | STB Riff 7 | 2012-08-29 | n/a | 53.17
21 | Odonates | STB Riff 7 | 2012-08-29 | 38.434 | n/a
22 | Odonates | STB Riff 7 | 2012-08-29 | 34.2124 | n/a
23 | Plecoptera | STB Riff 7 | 2012-08-29 | 10.3153 | n/a